SECTION 10 31 00

MANUFACTURED FIREPLACES

**NOTES TO SPECIFIER**

Flare Fireplaces LLC, Direct Vent Gas Fireplaces.
890 N. Dorothy Rd. Ste. 900
Richardson, TX 75081
Telephone: 1 (866) 639-1590
Email: info@flarefireplaces.com)
Web: https://flarefireplaces.com/
Click here for additional information.

- -  GENERAL

SECTION INCLUDES

Flare-FF-25-EH: Manufactured indoor gas direct vent fireplaces and accessories.

RELATED SECTIONS

**NOTE TO SPECIFIER** Delete any sections below not relevant to this project; add others as required.

Section 26 05 00 - Common Work Results for Electrical.

Refer to Mechanical and Electrical Specifications and Drawings for related information on air, gas, flue, venting and electrical requirements.

CERTIFICATION REFERENCES

**NOTE TO SPECIFIER** Delete references from the list below that are not required by the text of the edited section.

ANSI Z21.88 – CSA 2.33 Vented Gas Fireplace Heater

CLASS 2901 04 – DOMESTIC HEATERS (GAS) – Vented Fireplace (2901-04, 2901-84)

DESIGN / PERFORMANCE REQUIREMENTS

Comply with ANSI Z21.88/CSA 2.33a and gas-fired appliances for use at high altitudes CAN/CGA 2.17-M91/

Appliances are CSA marked as Certified to US Standard CLASS 2901 04 - DOMESTIC HEATERS (GAS) Vented Fireplace (2901-04, 2901-84)

Direct Vent appliances shall be electrically grounded in accordance with the local codes or, in the absence of local codes, with National Electric code, ANSI/NFPA 70, or the Canadian Electric Code, CSA C22.1 as applicable.

SUBMITTALS

Submit under provisions of Section 01 33 00.

Product Data: Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Provide drawing of required clearances, rough-in of enclosure and utilities.

**NOTE TO SPECIFIER** Delete selection samples if colors have already been selected.

PRE-INSTALLATION MEETINGS

Convene a minimum two weeks prior to starting work of this section.

Installation must be handled by a certified fireplace technician, or trained dealer representative.

DELIVERY, STORAGE, AND HANDLING

Deliver and store products in manufacturer's unopened packaging bearing the brand name and manufacturer's identification until ready for installation.

Handling: Handle materials to avoid damage.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

SEQUENCING

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

WARRANTY

Provide the manufacturer's product body and firebox 10 Year Limited Warranty and the ceramic glass 5 Year limited warranty against thermal breakage.

Flare Fireplaces Warranty Policy

- -  PRODUCTS

MANUFACTURERS

    - Acceptable Manufacturer: Flare Fireplaces LLC . - 890 N Dorothy Dr Suite 900, Richardson, TX 75081 Email:  info@flarefireplaces.com Phone: 1 (866) 639-1590

**NOTE TO SPECIFIER** Delete one of the following two paragraphs: coordinate with requirements of Division 1 section on product options and substitutions.

Alternate Manufacturer:  Not permitted.

MANUFACTURED INDOOR GAS FIREPLACES

Flare-FF-25-EH

Order SKU: DVFF25E

Glass Viewing Area Flare-FF-25-EH W 20 7/16  inches x H 30 inches

Gas Type and Heat Output: Natural Gas (NG) - 30,000 BTU, 79 percent efficient

Vent: Use Simpson Dura-Vent (4x6 and 5x8 Catalog | 3x5 Catalog) or ICC double-wall vent system only.

**NOTE TO SPECIFIER** Select 46DVA 6-inch outer diameter for standard Direct Vent run, and 35CVS 5-inch outer diameter for power vented run. Delete the option not required.

Direct Vent: 46DVA.

Power Vent System: 35CVS.

Vertical or Horizontal direct vent termination.

Glass: Single pane ceramic glass with screen barrier. (Default)

**NOTE TO SPECIFIER** Select the glass from the drop-down list. The upgrade requires an air intake below the firebox - see Air Intake Specification Manual.

Burner: Advanced 3D Multi-Row Burner (Standard)

**NOTE TO SPECIFIER** Select the burner from the drop-down list. See Summit Burner.

Decorative Media: Fire Glass - Clear

**NOTE TO SPECIFIER** Select the media from the drop-down list. See Flare media options.

Interiors: Reflective Back: Neo-ceramic black reflective glass.

**NOTE TO SPECIFIER** Select the interior finish from the drop-down list. See Reflective Back.

Controls: On/Off, thermostatic mode, child safety, and flame height operation.

** NOTE TO SPECIFIER ** Select one of the following and delete those not required.

Wall Switch (Included)

Timer (Optional)

Remote Control (Included)

Home Automation Integration (Optional)

Optional Accessories:

Venting: Natural venting - no power vent

Summer Kit: No Summer Kit

LED Lighting: Flare RGB LED Lighting - included

**NOTE TO SPECIFIER** Select the venting, summer kit and LED lighting from the drop-down lists. See Power Vents | Summer Kit | Multicolor LED Lights.

E.Provide other materials, not specifically described but required for a complete and proper installation, as selected by Contractor, subject to Architect’s approval.

- -  EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

Prepare fireplace installation location with noncombustible materials only. Use clearances information from the installation manual.

Confirm vent path and vent termination location.

INSTALLATION

Install in accordance with manufacturer's instructions, ANSI Z21.88 – CSA 2.33

Use manufacturer's guidelines for minimum clearances to combustibles, walls, and finishes.

Confirm heat release size and location based on installation manual. Confirm air intake location and size if using the Double Glass option.

Anchor all components firmly in position for long life under hard use.

FIELD QUALITY CONTROL

Upon completion of installation, visually inspect all exposed surfaces. Touch up scratches and abrasions with touch-up paint recommended by the manufacturer, make imperfections invisible to the unaided eye from 5 feet.

Test for proper operation, control, and safety devices.

Complete Installer's Warranty Validation Card.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION